# Manufactured Home Living Series  - Indoor Air Quality

The air we breathe is vital for health and comfort.  Poor indoor air quality has been listed as the fourth largest environmental threat to our country; and elements within homes have been increasingly recognized as threats to our nation’s respiratory health. Learning how to control the home’s indoor environmental quality is important for all homeowners and particularly so for individuals who suffer from allergies and asthma or have other respiratory illness and for homes with elderly or newborn occupants.

Manufactured homes have similar air quality issues as do other types of homes, however, their unique construction makes some of the causes and preventative measures different.  The following ten items lists some of the more common issues with manufactured home air quality.

# Top Ten Indoor Air Quality Concerns

1) Air under your home drifts inside.

2) Duct leakage can force moisture and contaminants into your home.

3) Bugs, rot & mold are signs of excess moisture.

4) Combustion by-products: carbon monoxide is a killer.

5) Don’t turn an ice storm into a death storm: Keep outdoor equipment outdoors.

6) Use ventilation fans.

7) Manage Moisture by managing your heating and cooling system.

8) Manage Moisture: keys to avoid mold, mildew and other air quality problems:

9) Keep hazardous materials outside.

10) Become educated about indoor air quality, take prudent steps to remedy.

# Manufactured Home Living Series - Indoor Air Quality

The air we breathe is vital for health and comfort.  Poor indoor air quality has been listed as the fourth largest environmental threat to our country; and elements within homes have been increasingly recognized as threats to our nation’s respiratory health. Learning how to control the home’s indoor environmental quality is important for all homeowners and particularly so for individuals who suffer from allergies and asthma or have other respiratory illness and for homes with elderly or newborn occupants.

Manufactured homes have similar air quality issues as do other types of homes, however, their unique construction makes some of the causes and preventative measures different.  The following ten items lists some of the more common issues with manufactured home air quality.

# Top Ten Indoor Air Quality Concerns

1) Air under your home drifts inside.

It seems logical, and research has proven, that the air underneath a home will find its way inside.  Look under your home; if you are not comfortable breathing air in your crawlspace then remove contaminants of concern and find ways to close air pathways into the home.

Common air quality concerns under a home: insect poisons, wet soil odors, radon gas, mold, gasoline, paint and other stored chemicals.

Common pathways: marriage line is not sealed, poorly repaired belly material, bolt holes at the marriage line, sloppy telephone and cable television installation.

2) Duct leakage can force moisture and contaminants into your home.

The blower for the heating and air conditioning system moves lots of air, and often some of this leaks from the ducts to the outdoors.  When this happens, the same amount of air must leak back into the home through cracks and other openings. This ‘driving force’ literally sucks air into the home.  Homes with significant duct leakage bring in significant outside air; and if this air passes through hazardous areas like the crawlspace or attic – it brings contaminants and moisture from these areas in as well.

If you can see holes in the ductwork or have a poorly attached crossover you will have duct leakage.  Other duct leaks are harder to find: on a still day close all your windows and doors (open all the inside doors), then turn on your heater or air conditioner and open a window or door just a crack.  The air you feel blowing in is an indication of the duct leakage you have. This amount of air (or more) could be sucked in from your crawlspace!

3) Bugs, rot & mold are signs of excess moisture.

Bugs and molds are, most often, a sign of poor moisture management - not a sign of poor housecleaning!  Without excess moisture, bugs, rot and mold will go somewhere else to live.  These invaders are eating your home and in the process leaving their wastes: insect frass, mold spores and chemical by-products that are often allergenic or in some cases poisonous.  If all you do is spray for the bugs, you are only adding to the chemicals in the home.  To improve your air quality you should also find the wet areas where these invaders breed and eliminate the moisture.

4) Combustion by-products: carbon monoxide is a killer.

Treat combustion appliances with respect and always follow the manufacturers instructions!  Gas fireplaces and heaters that are designed to vent out a chimney should always vent up the chimney.  Installers that suggest you can get more heat by closing the chimney damper are putting your life at risk.  Kerosene heaters and other unvented heaters are controversial - some believing they are perfectly safe and others believing that they are a serious risk by giving off carbon monoxide, nitrous oxides and other harmful gasses.  Choose vented equipment for supplemental heating if necessary; if you choose to use unvented heaters be sure to:  install and maintain a carbon monoxide alarm, keep your equipment properly maintained, follow the manufacturers operating instructions and use only for spot or emergency heat – don’t use in a bedroom for long periods of time.

Carbon Monoxide alarms should meet Underwriters Laboratories, Inc. standards, have a long-term warranty, and be easily self-tested and reset to ensure proper operation.

5) Don’t turn an ice storm into a death storm: Keep outdoor equipment outdoors.

North Carolina has frequent ice storms and strong windstorms that can knock out electrical power for days. Electrical generators exhaust poisonous gases – keep emergency generators outside as far away from the home as possible. Do not put the generator under the home or in a room with hopes that the fumes will exit an open window.

Do not heat or cook indoors with charcoal, propane grill or other appliances made for outdoors.  Although there may be no smoke, carbon monoxide and other dangerous gasses are being produced.  Keep these outside.

6) Use ventilation fans.

Manufactured homes have several types of ventilation fans: bath fans, kitchen fans and fresh air fans.  Use kitchen and bath fans to remove moisture and odors from these areas.  Not using these ventilation fans as intended will leave significant moisture in the home.

Some fresh air fans are manually operated and others are automatic.  Fresh air fans are poorly understood – their purpose is to remove normal contaminants and moisture generated in the home and to replace it with clean outdoor air.  If you see moisture forming on the inside of window glass in winter, increasing the use of the fresh air fan may remove moisture from the home.  In summer, however, turning on a fresh air fan may bring in too much moisture in from our humid climate.  Some ventilation systems are automatic and often have a duct hanging inside the air conditioner closet.  The duct from these systems should be left pointing towards the air conditioning coil so humidity can be removed from the fresh air.  Do not close this duct off; do not let your HVAC service technician close this duct off.  Some older systems connected this duct directly into the heater box.  When air conditioning is added the duct should be moved to point towards the coil.

Do not run the vent fans all of the time or turn the thermostat fan to “on”.  Too much ventilation can be as big a problem as too little.

7) Manage Moisture by managing your heating and cooling system.

- Bigger air conditioners do not remove as much moisture from the air – don’t insist on an oversized unit.

- Keep the HVAC filter clean.

- Keep the thermostat set above 72F in summer and below 80 in cold weather, and keep the fan setting to ‘auto’.

- Obtain an inexpensive relative humidity monitor and keep it near the thermostat.  Relative humidity exceeding 70% risks mold growth.

- Do not cover designed air supply grilles or ventilation openings.

- Don’t leave the home or even individual rooms for more than a few days without some form of heating, cooling or dehumidification.

- Clean humidifier and dehumidifier filters and media daily.

8) Manage Moisture: keys to avoid mold, mildew and other air quality problems:

- Eliminate moisture problems at the source – if you know about a pluming leak don’t wait, fix it immediately.

- Recognize signs of hidden moisture: odors, stains and condensation, warping or softening are all signs that moisture is a problem. Water may be hidden inside walls or the belly.

- Use a ground vapor barrier under the home to significantly lower the moisture level beneath the home. However, don’t let water collect on top, a few drain holes in the plastic may be needed to prevent this.

- Make sure the clothes dryer exhaust, the air conditioner condensate drain and the water heater overflow all drain out to outside – not into the crawlspace.

9) Keep hazardous materials outside.

Paints, industrial cleaners, petroleum products all should be stored out of doors. These contain strong chemicals that will leach into the indoor air.  Try not to buy more than you need and dispose of the rest.  Formaldehyde, once a problem in manufactured homes is no longer a significant concern from the home, but new furniture, carpets may outgas high levels of formaldehyde for several months.

Painting, furniture refinishing, smoking and other chemical producing activities should be done out of doors when possible, follow the manufacturers ventilation requirements when these activities must be done indoors.

Combat pet dander, pollen and dust mites and other biological allergens by keeping the relative humidity between 45 and 55%, laundering with high temperature water, avoiding carpets especially in moisture prone rooms such as bathrooms and by using high efficiency filters that remove air-borne particles (the furnace filter does not do this).  It is ideal to locate air filters near the HVAC blower; however, many manufactured homes do not easily accommodate better filters, in this case a stand-alone room filter may be helpful.

10) Become educated about indoor air quality, take prudent steps to remedy.

Each home and family is different and individual tolerances may vary widely.   Be aware about chemicals, particles in the air and moisture that may contribute to air quality concerns. Use trusted sources to determine which concerns are problems and which steps will provide relief.  No one piece of equipment will solve all your problems or magically make moisture go away. Some air cleaners are highly effective at particle removal, while others, including most table-top models, are much less so. Air cleaners are generally not designed to remove gaseous pollutants. Don’t spend money on unproven systems or ‘black box’ solutions. A vender who does not know the source of the air quality problem cannot fix it. Some products sold to improve air quality actually make the problems worse.

References

American Lung Association Health House
490 Concordia Avenue, St. Paul, MN 55103-2441
Telephone: (877) 521-1791; Fax: 651-227-5459
info@healthhouse.org.

"The Inside Story: A Guide to Indoor Air Quality"

United States Environmental Protection Agency and the

United States Consumer Product Safety Commission

Office of Radiation and Indoor Air (6604J)

U.S. Environmental Protection Agency
Indoor Environments Group

EPA Document # 402-K-93-007, April 1995

1200 Pennsylvania Ave., NW
MC-6609J
Washington, DC  20460
Tel:  (202) 343-9764

http://www.epa.gov/iaq/

Manufactured Housing Fuel Switching: Field Test Study
Manufactured Housing Research Alliance, New York, 1999

Manufactured Housing Research Alliance
2109 Broadway, Suite 200
New York, NY 10023
(212) 496-0900 Tel.
(212) 496-5389 Fax
info@research-alliance.org

Edits

Dec 29, 2004

- For energy reasons you should keep the thermostat during summer at or above 78F, but be aware that settings below 70F are not only energy inefficient, but also risks moisture condensation within humid wall cavities.

- For energy reasons you should keep the thermostat during winter at or below 70F, but be aware that settings above 80F are not only inefficient, but this air can hold much moisture and risks condensation in cold wall cavities.

- Keep the thermostat fan setting to ‘auto’; the ‘on’ setting will likely bring in excess outside air.

…carpets especially in moisture prone rooms such as bathrooms and by using higher efficiency paper or fabric type filters that remove air-borne particles instead of the traditional fiberglass filters (the furnace filter does not do this).